## CES-ADMIN
MODULE NO. |  | AREA |  | NO. OCCUP | SF PER USER | NO. OF ROOMS REQUIRED | INDIVIDUAL ROOM RQRMNTS | NET USER REQUIREMENTS |  | COMMENTS
[7 empty] | SF | SF | SM
A |  | INSTALLATION FLIGHT
A1 |  |  | INSTALLATION FLIGHT OPEN OFFICE (INCLUDES RECEPTION) |  |  | 1 | 4855 | 4855 | 451.0295 | 2,4
A2 |  |  | FLIGHT CHIEF |  |  | 1 | 120 | 120 | 11.148
A3 |  |  | NEXT GEN STORAGE |  |  | 1 | 80 | 80 | 7.432 | 6
|  |  | SUBTOTAL INSTALLATION FLIGHT AREA |  |  |  |  | 5055 | 469.6095
B |  | INSTALLATION MANAGEMENT FLIGHT
B1 |  |  | RECEPTION / WAITING |  |  | 1 | 150 | 150 | 13.935 | 6,7
B2 |  |  | FAMILY RESTROOM |  |  | 1 | 60 | 60 | 5.574 | 6,7
B3 |  |  | CHILD PLAY AREA |  |  | 1 | 120 | 120 | 11.148 | 6,7
B4 |  |  | COUNSELING |  |  | 2 | 100 | 200 | 18.58 | 6,7
B5 |  |  | HOUSING OFFICE |  |  | 1 | 125 | 125 | 11.6125 | 7
B6 |  |  | HOUSING OPEN OFFICE |  |  | 1 | 260 | 260 | 24.154 | 2,4
|  |  | SUBTOTAL INSTALLATION MANAGEMENT FLIGHT AREA |  |  |  |  | 915 | 85.0035
C |  | OPERATIONS FLIGHT
C1 |  |  | OPERATIONS FLIGHT OPEN OFFICE |  |  | 1 | 2135 | 2135 | 198.3415 | 2
C2 |  |  | OPERATIONS CENTER - FLIGHT CHIEF |  |  | 1 | 120 | 120 |  | 2
|  |  | SUBTOTAL OPERATIONS FLIGHT AREA |  |  |  |  | 2255 | 209.4895
D |  | ENGINEERING FLIGHT
D1 |  |  | ENGINEERING FLIGHT OPEN OFFICE (INCLUDES RECEPTION) |  |  | 1 | 4175 | 4175 | 387.8575 | 2,4
D2 |  |  | RECORD DRAWINGS VAULT/STORAGE |  |  | 1 | 290 | 290 | 26.941 | 6
D3 |  |  | PLOTTER AREA |  |  | 1 | 190 | 190 | 17.651 | 6
D4 |  |  | ENGINEERING FLIGHT CHIEF |  |  | 1 | 110 | 110 | 10.219
D5 |  |  | CONFERENCE ROOM |  |  | 1 | 150 | 150 | 13.935 | 8
|  |  | SUBTOTAL ENGINEERING FLIGHT AREA |  |  |  |  | 4915 | 456.6035
E |  | COMMAND SECTION
E1 |  |  | ADMINISTRATION OPEN OFFICE |  |  | 1 | 570 | 570 | 52.953 | 2,4
|  |  | (INCLUDES RECEPTION & WAITING AREA) | [6 empty] | 6
E2 |  |  | CONFERENCE |  |  | 1 | 165 | 165 | 15.3285 | 8
E3 |  |  | DEPUTY BASE CIVIL ENGINEER |  |  | 1 | 120 | 120 | 11.148 | 2
E4 |  |  | FIRST SERGEANT |  |  | 1 | 120 | 120 | 11.148 | 2
E5 |  |  | SQUADRON COMMANDER |  |  | 1 | 150 | 150 | 13.935 | 2
|  |  | SUBTOTAL COMMAND SECTION AREA |  |  |  |  | 1125 | 104.5125
F |  | ADMINISTRATION SUPPORT
F1 |  |  | MAIN CONFERENCE ROOM |  |  | 1 | 1065 | 1065 | 98.9385 | 8
F2 |  |  | COPY ROOM |  |  | 1 | 190 | 190 | 17.651 | 6
F3 |  |  | BREAK ROOM |  |  | 1 | 260 | 260 | 24.154 | 5,6
|  |  | SUBTOTAL ADMINISTRATION SUPPORT AREA |  |  |  |  | 1515 | 140.7435
G |  | EMCS CONTROL
G1 |  |  | EMCS CONTROL |  |  | 1 | 400 | 400 | 37.16 | 6
|  |  | SUBTOTAL EMCS CONTROL AREA |  |  |  |  | 400 | 37.16
H |  | TOILET
H1 |  |  | MEN'S TOILET |  |  | 1 | 260 | 260 | 24.154 | 9
H2 |  |  | WOMEN'S TOILET |  |  | 1 | 260 | 260 | 24.154 | 9
H3 |  |  | JANITOR |  |  | 1 | 70 | 70 | 6.503 | 9
|  |  | SUBTOTAL TOILET AREA |  |  |  |  | 590 | 54.811
J |  | BUILDING SUPPORT
J1 |  |  | MECHANICAL |  |  | 1 | 530 | 530 | 49.237 | 10
J2 |  |  | ELECTRICAL |  |  | 1 | 125 | 125 | 11.6125 | 10
J3 |  |  | COMMUNICATIONS |  |  | 1 | 125 | 125 | 11.6125 | 10
J4 |  |  | FIRE PUMP |  |  | 1 | 115 | 115 | 10.6835 | 10
|  |  | SUBTOTAL BUILDING SUPPORT AREA |  |  |  |  | 895 | 83.1455
|  |  | FACILITY CORRIDOR |  |  | 1 | 1940 | 1940 | 180.226 | 11
|  |  | VESTIBULE |  |  | 1 | 115 | 115 | 10.6835 | 11
|  |  | COVERED ENTRY (1/2 SCOPE) |  |  | 1 | 50 | 50 | 4.645 | 11
|  |  | TOTAL FACILITY NET FLOOR AREA |  |  |  |  | 16770 | 1557.933
|  |  | CIRCULATION MULTIPLIER | 10% |  |  |  | 18445 |  | 11
|  |  | NET TO GROSS MULTIPLIER | 17% |  |  |  | 21580
|  |  | TOTAL FACILITY GROSS AREA (ROUNDED) |  |  |  |  | 21600 | 2006.64 | 12,13,14
COMMENTS:
1 | Facility Personnel Count : 115
2 | Reference Tables in Chapter 6 of Air Force Manual 32-1084 for Administration Area sizes.
3 | Includes all related areas for this facility class listed in Air Force Manual 32-1084, Chapter 1 and Chapter 6
4 | Administration Areas include circulation factor of 10% per Chapter 1 Air Force Manual 32-1084
5 | Break Room also serves as Team room, sized per Table 6.3 Break Rooms - max allowed : 16% of 115 occupants mulitplied by 18 sf per occupant. Some space reallocated to copy room.
6 | These areas are User Justified Spaces; Special Purpose. SF to be adjusted or verified for each base installation.
7 | Family Housing Management Office areas per Table 6.3
8 | Team/Meeting/Mini-Conference Room; Conference Room per Table 6.4
9 | Male/Female ratio of 50/50 as determined by the subject matter experts. Actual fixture count shall be based on International Plumbing Code, latest edition, Chapter 29 and the UFC 3-420-01, latest edition, Plumbing Systems.
10 | Building Support areas are estimates only and actual size is dependent on requirements for climate zone, location, system, etc. (Sq. Ft. not included in Total Facility Net Floor Area as this area is included in Net to Gross Multiplier).
11 | Circulation areas are based on Proof of Concept and a circulation multipilier of 10% per Air Force Manual 32-1084, Chapter 1, paragraph 1.10.2.
12 | Per AFM 32-1084 Chapter 1, net-to-gross multiplier of up to 25%, used 17% per Standard Design Plan which would include any additional Building Support Areas that may be required. Also included in multipliers are column furr-outs and mechanical/plumbing chases.
13 | All area SF's are rounded to the nearest whole 5 number.
14 | This worksheet represents a facility rounded up to 21,600 Square Feet.