## CC_ FUEL HANGAR
| MODULE NO. |  | AREA TYPE |  | NO. OCCUP | SF PER USER | NO. OF ROOMS REQUIRED | INDIVIDUAL ROOM RQRMNTS | NET USER REQUIREMENTS |  | COMMENTS
[8 empty] | SF | SF | SM
| A |  | Corrosion Control Hangar Bay
| A1 |  |  | Corrosion Control Hangar Bay |  |  | 1 | 53825 | 53825 | 5000.3425 | 1
| A2 |  |  | Air Filtration |  |  | 1 | 2125 | 2125 | 197.4125
| A3 |  |  | Filter Storage |  |  | 1 | 275 | 275 | 25.5475
|  |  |  | SUBTOTAL CORROSION CONTROL HANGAR BAY AREA |  |  |  |  | 56225 | 5223.3025
| B |  | Aircraft Fuel Hangar
| B1 |  |  | Aircraft Fuel Hangar |  |  | 1 | 50290 | 50290 | 4671.941 | 1
|  |  |  | SUBTOTAL AIRCRAFT FUEL HANGAR BAY AREA |  |  |  |  | 50290 | 4671.941
| C |  | Corrosion Control Tools & Support
| C1 |  |  | CC CTK Vesituble |  |  | 1 | 195 | 195 | 18.1155 | 2
| C2 |  |  | CC CTK |  |  | 1 | 840 | 840 | 78.036 | 2
| C3 |  |  | CC Tool Storage |  |  | 1 | 470 | 470 | 43.663 | 2
| C4 |  |  | Stencil |  |  | 1 | 650 | 650 | 60.385 | 2
|  |  |  | SUBTOTALCORRSION CONTROL TOOLS & SUPPORT AREA |  |  |  |  | 2155 | 200.1995
| D |  | Corrosion Control Shops
| D1 |  |  | Sanding |  |  | 1 | 845 | 845 | 78.5005 | 2
| D2 |  |  | Paint Booth |  |  | 1 | 845 | 845 | 78.5005 | 2
| D3 |  |  | Paint Storage |  |  | 1 | 720 | 720 | 66.888 | 2
| D4 |  |  | Paint Mixing |  |  | 1 | 205 | 205 | 19.0445 | 2
| D5 |  |  | Clean Room |  |  | 1 | 955 | 955 | 88.7195 | 2
| D6 |  |  | Transition / Staging |  |  | 1 | 1020 | 1020 | 94.758 | 3
|  |  |  | SUBTOTALCORRSION CONTROL SHOPS AREA |  |  |  |  | 4590 | 426.411
| E |  | Fuel Tools & Support
| E1 |  |  | Fuel Shop CTK Vestibule |  |  | 1 | 175 | 175 | 16.2575 | 3
| E2 |  |  | Fuel Shop CTK |  |  | 1 | 760 | 760 | 70.604 | 3
| E3 |  |  | Fuel Tool Storage |  |  | 1 | 435 | 435 | 40.4115 | 3
|  |  |  | SUBTOTAL FUEL SHOPS AREA |  |  |  |  | 1370 | 127.273
| F |  | Fuel Shops
| F1 |  |  | Fuel Shop Storage |  |  | 1 | 385 | 385 | 35.7665 | 3
| F2 |  |  | Fuel Shop |  |  | 1 | 2130 | 2130 | 197.877 | 3
| F3 |  |  | Fuel Tank Repair |  |  | 1 | 2150 | 2150 | 199.735 | 3
| F4 |  |  | Fuel Tank Storage |  |  | 1 | 1865 | 1865 | 173.2585 | 4
|  |  |  | SUBTOTAL FUEL SHOPS AREA |  |  |  |  | 6530 | 606.637
| G |  | Administration
| G1 |  |  | Training |  |  | 1 | 265 | 265 | 24.6185 | 6
| G2 |  |  | Contractor Office |  |  | 1 | 265 | 265 | 24.6185 | 5
| G3 |  |  | Section Chief |  |  | 1 | 265 | 265 | 24.6185 | 5
| G4 |  |  | Dispatch |  |  | 1 | 240 | 240 | 22.296 | 5
| G5 |  |  | Section Chief |  |  | 1 | 265 | 265 | 24.6185 | 5
| G6 |  |  | Contractor Office |  |  | 1 | 265 | 265 | 24.6185 | 5
| G7 |  |  | Training |  |  | 1 | 265 | 265 | 24.6185 | 6
| G8 |  |  | Dispatch |  |  | 1 | 240 | 240 | 22.296 | 5
|  |  |  | SUBTOTAL ADMINISTRATION AREA |  |  |  |  | 2070 | 192.303
| H |  | Ready Room
| H1 |  |  | CC Ready Room |  |  | 1 | 270 | 270 | 25.083 | 4
| H2 |  |  | Fuel Shop Ready Room |  |  | 1 | 270 | 270 | 25.083 | 4
|  |  |  | SUBTOTAL BREAK ROOM AREA |  |  |  |  | 540 | 50.166
| J |  | Toilet/Shower/Locker
| J1 |  |  | Air Shower |  |  | 1 | 60 | 60 | 5.574
| J2 |  |  | Initial Accumulation Point |  |  | 1 | 140 | 140 | 13.006
| J3 |  |  | Men's Toilet/ Shower (Dirty) |  |  | 1 | 355 | 355 | 32.9795 | 7
| J4 |  |  | Men's Toilet/ Shower (Clean) |  |  | 1 | 375 | 375 | 34.8375 | 7
| J5 |  |  | Women's Toilet/ Shower (Dirty) |  |  | 1 | 280 | 280 | 26.012 | 7
| J6 |  |  | Women'sToilet/ Shower (Clean) |  |  | 1 | 275 | 275 | 25.5475 | 7
| J7 |  |  | Janitor |  |  | 1 | 115 | 115 | 10.6835
| J8 |  |  | Men's Toilet/ Shower (Fuel) |  |  | 1 | 495 | 495 | 45.9855 | 7
| J9 |  |  | Women's Toilet/ Shower (Fuel) |  |  | 1 | 350 | 350 | 32.515 | 7
| J10 |  |  | Janitor |  |  | 1 | 95 | 95 | 8.8255
|  |  |  | SUBTOTAL TOILETS/ SHOWERS/ LOCKERS AREA |  |  |  |  | 2540 | 235.966
| K |  | Building Support
| K1 |  |  | Mechanical |  |  | 1 | 1735 | 1735 | 161.1815 | 8
| K2 |  |  | Compressed Air |  |  | 1 | 485 | 485 | 45.0565 | 8
| K3 |  |  | Fire Pump Room |  |  | 1 | 610 | 610 | 56.669 | 8
| K4 |  |  | Electrical |  |  | 1 | 1365 | 1365 | 126.8085 | 8
| K5 |  |  | Telecommunications |  |  | 1 | 375 | 375 | 34.8375 | 8
| K6 |  |  | 400 HZ Converter Room |  |  | 2 | 65 | 130 | 12.077 | 8
|  |  |  | SUBTOTAL BUILDING SUPPORT AREA |  |  |  |  | 4700 | 436.63
Circulation
|  |  |  | Facility Corridors |  |  | 1 | 2530 | 2530 | 235.037 | 9
|  |  |  | Stairs |  |  | 2 | 245 | 490 | 45.521 | 9
| TOTAL FACILITY NET FLOOR AREA | [7 empty] | 126310 | 11734.199
|  |  |  | CIRCULATION MULTIPLIER | 2.5% |  |  |  | 129470 |  | 9
|  |  |  | NET TO GROSS MULTIPLIER | 7% |  |  |  | 138535 | 12869.9015 | 10
| TOTAL FACILITY GROSS AREA (ROUNDED) | [7 empty] | 138600 |  | 10,11,12
COMMENTS:
| 1 | Hangar Bay size is based upon AFMAN 32-1084, Chapter 3, paragraph 3.1.2.3.7. Generic Hangar Facilities for AMC Tanker Aircraft and Table 3.2 Aircraft Separation Dimensions Inside hangars.
| 2 | This area size is per user defined sizes and previous non-depot level Air Force Corrosion Control type hangars.
| 3 | This area size is per user defined sizes and previous Air Force Fuel Cell Maintenance type hangars.
1 | 4 | Ready Room is a Special Purpose Room as defined in Chapter 6 of Air Force Manual 32-1084 for a user justified area for 60 persons. Reference Tables in Table 6.3 of Air Force Manual 32-1084 Typical Special Purpose Spaces Programming for Break Room, 16% of occupancy x 100 sf per occupants.
| 5 | Reference Tables in Chapter 6 of Air Force Manual 32-1084 for Administration room sizes. Administration Areas include circulation factor of 10% per Chapter 1 Air Force Manual 32-1084.
| 6 | Team/Meeting/Mini-Conference Room; Conference Room per Table 6.4. of Air Force Manual 32-1084.
| 7 | Male/Female ratio of 60/40 as determined by the subject matter experts. Actual fixture count shall be based on International Plumbing Code, latest edition, Chapter 29 and the UFC 3-420-01, latest edition, Plumbing Systems.
| 8 | Building Support areas are estimates from charrette and may vary in final design when actual system is selected. (Sq. Ft. not included in Total Facility Net Floor Area as this area is included in Net to Gross Multiplier).
| 9 | Circulation areas are based on Proof of Concept and a circulation multiplier of up to 10% per Air Force Manual 32-1084.
| 10 | Per AFM 32-1084 Chapter 1, net-to-gross multiplier of up to 25%, used 7% as large portion of area is in Hangar Bay and for any additional Building Utility spaces that may be required. Also included in multipliers are column furr-outs and mechanical/plumbing chases.
| 11 | All area SF's are rounded to the nearest whole 5 number.
| 12 | This worksheet represents a facility rounded up to 138,600 Square Feet.