## RPA Hangar Facility - POC1
MODULE NO. |  | AREA |  | NO. OCCUP | SF PER USER | NO. OF ROOMS REQUIRED | INDIVIDUAL ROOM RQRMNTS | NET USER REQUIREMENTS |  | COMMENTS
[7 empty] | SF | SF | SM
A |  | Hangar Bay
A |  |  | Hangar Bay |  |  | 2 | 29015 | 58030 | 5390.987 | 1
|  |  | SUBTOTAL HANGAR BAY AREA |  |  |  |  | 58030 | 5390.987
B |  | Tools, Parts & Support
B.1 |  |  | Supply Office | 3 |  | 1 | 305 | 305 | 28.3345 | 3,7
B.2 |  |  | Supply (TNB/FOM) | 2 |  | 1 | 1735 | 1735 | 161.1815
B.3 |  |  | Transaction |  |  | 1 | 515 | 515 | 47.8435
B.4 |  |  | Support (Tool Crib) | 5 |  | 1 | 2090 | 2090 | 194.161
B.5 |  |  | Support Office | 4 |  | 1 | 325 | 325 | 30.1925 | 3,7
B.6 |  |  | Hazmat |  |  | 1 | 150 | 150 | 13.935
B.7 |  |  | Storage |  |  | 1 | 545 | 545 | 50.6305
|  |  | SUBTOTAL TOOL AND PARTS SUPPORT AREA |  |  |  |  | 5665 | 526.2785
C |  | Ready Room
C.1 |  |  | Ready Room | 44 |  | 1 | 2620 | 2620 | 243.398
C.2 |  |  | Unisex Locker Room |  |  | 1 | 885 | 885 | 82.2165
C.3 |  |  | Break Room | 104 |  | 1 | 2160 | 2160 | 200.664 | 2
|  |  | SUBTOTAL BULLPEN/READY ROOM AREA |  |  |  |  | 5665 | 526.2785
D |  | RPA Technical Support
D.1 |  |  | Weapons | 4 |  | 1 | 310 | 310 | 28.799 | 3,7
D.2 |  |  | Avionics | 2 |  | 1 | 310 | 310 | 28.799 | 3,7
D.3 |  |  | AC Section | 4 |  | 1 | 310 | 310 | 28.799 | 3,7
D.4 |  |  | Training | 4 |  | 1 | 310 | 310 | 28.799 | 3,7 | Internal Notes : NOT TO BE PRINTED
|  |  | Circulation |  |  |  | 10% | 125 | 11.6125 |  | 1240 | Sum of Module Area (not including circulation factor)
|  |  | SUBTOTAL RPA TECHNICAL SUPPORT AREA |  |  |  |  | 1365 | 126.8085
E |  | RPA Administration Support
E.1 |  |  | OIC/AOIC/Chief | 5 |  | 1 | 310 | 310 | 28.799 | 3,7
E.2 |  |  | Supervisor Office | 1 |  | 1 | 265 | 265 | 24.6185 | 3,7
E.3 |  |  | Conference | 8 |  | 1 | 265 | 265 | 24.6185 | 10
E.4 |  |  | Civilian Support | 4 |  | 1 | 310 | 310 | 28.799 | 3,7
|  |  | Circulation |  |  |  | 10% | 170 |  |  | 1150 | Sum of Module Area (not including circulation factor)
|  |  | SUBTOTAL RPA ADMINISTRATION SUPPORT AREA |  |  |  |  | 1320 | 122.628
F |  | Squadron Conference
F |  |  | Squadron Conference | 34 |  | 1 | 455 | 455 | 42.2695 | 10
|  |  | SUBTOTAL SQUADRON CONFERENCE ROOM AREA |  |  |  |  | 455 | 42.2695
G |  | Toilet/Shower/Locker
G.1 |  |  | Administration Men's Toilet |  |  | 1 | 225 | 295 | 27.4055 | 8
G.2 |  |  | Administration Women's Toilet |  |  | 1 | 170 | 250 | 23.225 | 8
G.3 |  |  | Administration Janitor |  |  | 1 | 60 | 60 | 5.574
G.4 |  |  | General Men's Toilet/Shower/Locker |  |  | 1 | 990 | 990 | 91.971 | 8
G.5 |  |  | General Women's Toilet/Showe/Locker |  |  | 1 | 645 | 645 | 59.9205 | 8
G.6 |  |  | General Janitor |  |  | 1 | 45 | 45 | 4.1805
|  |  | SUBTOTAL TOILETS/ SHOWERS/ LOCKERS AREA |  |  |  |  | 2285 | 212.2765
H |  | Aircraft Maintenance Support
H.1 |  |  | Engine Repair Shop |  |  | 2 | 1095 | 2190 | 203.451
H.2 |  |  | SATCOM Shop |  |  | 1 | 645 | 645 | 59.9205
H.3 |  |  | Battery Shop |  |  | 1 | 655 | 655 | 60.8495
H.4 |  |  | Management Office | 4 |  | 1 | 685 | 685 | 63.6365 | 3
H.5 |  |  | Unisex Toilet | 1 |  | 1 | 90 | 90 | 8.361 | 9
|  |  | SUBTOTAL AIRCRAFT MAINTENANCE SUPPORT AREA |  |  |  |  | 4265 | 396.2185
J |  | Building Support
J.1 |  |  | Telecommunications |  |  | 1 | 250 | 250 | 23.225 | 6
J.2 |  |  | Electrical |  |  | 1 | 205 | 205 | 19.0445 | 6
J.3 |  |  | Mechanical |  |  | 1 | 795 | 795 | 73.8555 | 6
J.4 |  |  | Fire Pump Room |  |  | 1 | 180 | 180 | 16.722 | 6
|  |  | SUBTOTAL BUILDING SUPPORT AREA |  |  |  |  | 1430 | 132.847
|  |  | Facility Corridor |  |  | 1 | 2125 | 2125 |  | 12
|  |  | Covered Entry (1/2 Scope) | 0 |  | 1 | 80 | 80 | 7.432
|  |  | TOTAL FACILITY NET FLOOR AREA |  |  |  |  | 79050 | 7343.745 |  | 82685 | Total Net POC 1 : including bldg support, corridors & covered entry
|  |  | NET TO GROSS | 10% | [5 empty] | 4,11 | 84444 | Gross POC 1 : as Drawn
|  |  | TOTAL FACILITY GROSS AREA |  |  |  |  | 86955 | 8078.1195
COMMENTS:
1 | Programming Worksheet is based upon 6 aircraft positions - typical for Squadron, tail-to-tail configuration | [9 empty] | Old INFO
2 | Break Room also serves as Classroom, sized per Table 6.3 Break Rooms and Table 6.4 Classroom of Air Force Manual 32-1084 Break Room 16% of 120 occupants mulitplied by 18 sf per occupant plus Classroom of 70-80 persons multiplied by 20 sf per person) | [9 empty] | 82665 | Total Net POC 1 : including bldg support, corridors & covered entry
3 | Reference Tables in Chapter 6 of Air Force Manual 32-1084 for additional information. | [9 empty] | 87509 | Gross POC 1 : as Drawn
4 | Includes all areas listed in Air Force Manual 32-1084, Chapter 1 and Chapter 6
5 | Per AFM 32-1084 Chapter 1, paragraph 1.10.2 Circulation Multiplier of up to 10%.
6 | Building Support areas are estimates only and actual size is dependent on requirements for climate zone, location, system, etc. (Sq. Ft. not included in Total Facility Net Floor Area as this area is included in Net to Gross Multiplier)
7 | Administration Areas include circulation factor of 10% per Chapter 1 Air Force Manual 32-1084
8 | Male/Female ratio of 60/40
9 | Single Unisex Toilet for Hangar Management
10 | Team/Meeting/Mini-Conference Roon; Conference Room per Table 6.4
11 | Per AFM 32-1084 Chapter 1, net-to-gross multiplier of up to 25%, used 10% as large portion of area is in Hangar Bay.
12 | Facility Corridor ( General Circulation) Sq. Ft. not included in Total Facility Net Floor Area

## RPA Hangar Facility - POC2
MODULE NO. |  | AREA |  | NO. OCCUP | SF PER USER | NO. OF ROOMS REQUIRED | INDIVIDUAL ROOM RQRMNTS | NET USER REQUIREMENTS |  | COMMENTS
[7 empty] | SF | SF | SM
A |  | Hangar Bay
A |  |  | Hangar Bay |  |  | 2 | 29015 | 58030 | 5390.987 | 1
|  |  | SUBTOTAL HANGAR BAY AREA |  |  |  |  | 58030 | 5390.987
B |  | Tools, Parts & Support
B.1 |  |  | Supply Office | 3 |  | 1 | 305 | 305 | 28.3345 | 3,7
B.2 |  |  | Supply (TNB/FOM) | 2 |  | 1 | 1735 | 1735 | 161.1815
B.3 |  |  | Transaction |  |  | 1 | 515 | 515 | 47.8435
B.4 |  |  | Support (Tool Crib) | 5 |  | 1 | 2090 | 2090 | 194.161
B.5 |  |  | Support Office | 4 |  | 1 | 325 | 325 | 30.1925 | 3,7
B.6 |  |  | Hazmat |  |  | 1 | 150 | 150 | 13.935
B.7 |  |  | Storage |  |  | 1 | 545 | 545 | 50.6305
|  |  | SUBTOTAL TOOL AND PARTS SUPPORT AREA |  |  |  |  | 5665 | 526.2785
C |  | Ready Room
C.1 |  |  | Ready Room | 44 |  | 1 | 2620 | 2620 | 243.398
C.2 |  |  | Unisex Locker Room |  |  | 1 | 885 | 885 | 82.2165
C.3 |  |  | Break Room | 96 |  | 1 | 2160 | 2160 | 200.664 | 2
|  |  | SUBTOTAL BULLPEN/READY ROOM AREA |  |  |  |  | 5665 | 526.2785
D |  | RPA Technical Support
D |  |  | RPA Technical Support | 14 |  | 1 | 1255 | 1255 | 116.5895 | 3,7
|  |  | Circulation |  |  |  | 10% | 125 | 11.6125 | 5
|  |  | SUBTOTAL RPA TECHNICAL SUPPORT AREA |  |  |  |  | 1380 | 128.202
E |  | RPA Administration Support
E |  |  | RPA Administration Support | 17 |  | 1 | 890 | 890 | 82.681 | 3,7
|  |  | Supervisor Office | 1 |  | 1 | 265 | 265 | 24.6185 | 3,7
|  |  | Circulation |  |  |  | 10% | 170 |  | 5
|  |  | SUBTOTAL RPA ADMINISTRATION SUPPORT AREA |  |  |  |  | 1325 | 123.0925
F |  | Squadron Conference
F |  |  | Squadron Conference | 34 |  | 1 | 455 | 455 | 42.2695 | 10
|  |  | SUBTOTAL SQUADRON CONFERENCE ROOM AREA |  |  |  |  | 455 | 42.2695
G |  | Toilet/Shower/Locker
G.1 |  |  | Administration Men's Toilet |  |  | 1 | 225 | 295 | 27.4055 | 8
G.2 |  |  | Administration Women's Toilet |  |  | 1 | 170 | 250 | 23.225 | 8
G.3 |  |  | Administration Janitor |  |  | 1 | 60 | 60 | 5.574
G.4 |  |  | General Men's Toilet/Shower/Locker |  |  | 1 | 990 | 990 | 91.971 | 8
G.5 |  |  | General Women's Toilet/Showe/Locker |  |  | 1 | 645 | 645 | 59.9205 | 8
G.6 |  |  | General Janitor |  |  | 1 | 45 | 45 | 4.1805
|  |  | SUBTOTAL TOILETS/ SHOWERS/ LOCKERS AREA |  |  |  |  | 2285 | 212.2765
H |  | Aircraft Maintenance Support
H.1 |  |  | Engine Repair Shop |  |  | 2 | 1095 | 2190 | 203.451
H.2 |  |  | SATCOM Shop |  |  | 1 | 645 | 645 | 59.9205
H.3 |  |  | Battery Shop |  |  | 1 | 655 | 655 | 60.8495
H.4 |  |  | Management Office | 4 |  | 1 | 685 | 685 | 63.6365 | 3
H.5 |  |  | Unisex Toilet | 1 |  | 1 | 90 | 90 | 8.361 | 9
|  |  | SUBTOTAL AIRCRAFT MAINTENANCE SUPPORT AREA |  |  |  |  | 4265 | 396.2185
I |  | Building Support
I.1 |  |  | Telecommunications |  |  | 1 | 250 | 250 | 23.225 | 6
I.2 |  |  | Electrical |  |  | 1 | 205 | 205 | 19.0445 | 6
I.3 |  |  | Mechanical |  |  | 1 | 795 | 795 | 73.8555 | 6
I.4 |  |  | Fire Pump Room |  |  | 1 | 180 | 180 | 16.722 | 6
|  |  | SUBTOTAL BUILDING SUPPORT AREA |  |  |  |  | 1430 | 132.847
|  |  | Facility Corridor |  |  | 1 | 2125 | 2125 |  | 12
|  |  | Covered Entry (1/2 Scope) | 0 |  | 1 | 80 | 80 | 7.432
|  |  | TOTAL FACILITY NET FLOOR AREA |  |  |  |  | 79070 | 7345.603
|  |  | NET TO GROSS | 10% | [5 empty] | 4,11
|  |  | TOTAL FACILITY GROSS AREA |  |  |  |  | 86977 | 8080.1633
COMMENTS:
1 | Programming Worksheet is based upon 6 aircraft positions - typical for Squadron, tail-to-tail configuration
2 | Break Room also serves as Classroom, sized per Table 6.3 Break Rooms and Table 6.4 Classroom of Air Force Manual 32-1084 Break Room 16% of 120 occupants mulitplied by 18 sf per occupant plus Classroom of 70-80 persons multiplied by 20 sf per person)
3 | Reference Tables in Chapter 6 of Air Force Manual 32-1084 for additional information.
4 | Includes all areas listed in Air Force Manual 32-1084, Chapter 1 and Chapter 6
5 | Per AFM 32-1084 Chapter 1, paragraph 1.10.2 Circulation Multiplier of up to 10%.
6 | Building Support areas are estimates only and actual size is dependent on requirements for climate zone, location, system, etc. (Sq. Ft. not included in Total Facility Net Floor Area as this area is included in Net to Gross Multiplier)
7 | Administration Areas include circulation factor of 10% per Chapter 1 Air Force Manual 32-1084
8 | Male/Female ratio of 60/40
9 | Single Unisex Toilet for Hangar Management
10 | Team/Meeting/Mini-Conference Roon; Conference Room per Table 6.4
11 | Per AFM 32-1084 Chapter 1, net-to-gross multiplier of up to 25%, used 10% as large portion of area is in Hangar Bay.
12 | Facility Corridor ( General Circulation) Sq. Ft. not included in Total Facility Net Floor Area