3.0 SITE ANALYSIS

********************************************************************************************************** 
NOTE: This is a hidden text note that will not print when the HIDDEN TEXT box in "Print -Options" is unchecked.

This section includes the description of all site related information broken out into Existing Site Conditions and Site Development Requirements.

Provide graphics and photos on requirements that can be illustrated in this Section. Include large scale graphics, drawings, and field investigation reports for hazardous materials and substances as attachments in Part 6 of the RFP. Comply with UFC 3-810-01N, Navy and Marine Corps Environmental Engineering for Facility Construction for requirements on field investigations of hazardous materials and substances. Also enter Project title, location, and contract number information for page headers under the Header and Footer view.
**********************************************************************************************************

3.1 Existing Site Conditions

********************************************************************************************************** 
NOTE:  The following outlines the types of information typically addressed.  Provide subheadings and information applicable to the project.

     3.1.1 Natural Constraints

        Topography
        Vegetation / Landscaping
        Natural Resources (Threatened and Endanger Species/Critical Habitat, Migratory Bird,
        Essential Fish Habitat, marine mammal restrictions, Bald and Golden Eagle nest
        location and restriction areas)
        Climatology (Solar orientation, etc.)
        Wetlands
        Reference Geotechnical Soils Report if applicable.
        Indicate environmental restrictions if applicable.
        Radon Contamination (Refer to EPA Radon Zone Map)
        Reference Wave, Current and Tide Reports if applicable
        Hydrographic Survey if applicable
        Unexploded Ordnance (UXO) Survey or Evaluation Reports if applicable
        Existing Waterfront Facility (above and underwater) Inspection Reports
        if applicable
        Coral or Other Marine Life Maps/Reports if applicable

     3.1.2 Man made

        Existing Vehicular Access and Circulation
        Site Utilities
        Site Drainage & Storm Water Runoff (hydrology)
        Existing Buildings (Provide photographs of buildings on site and
        surrounding buildings)
        Existing Waterfront Facilities (Wharf, Pier, Bulkhead, Caisson, Drydock, Mooring
        Dolphin, Mooring Island,  Boat Ramp etc. Provide photographs of waterfront site
        and surrounding waterfront facilities) if applicable 
        Existing Mooring Hardware and Fender System (provide photographs of marine
        hardware and fender) if applicable
        Existing Dredging
        Hazardous Materials and Substances (asbestos containing materials, lead paint,
        polychlorinated biphenyls, low-level radioactive components, animal droppings,
        mold and spores, storage tanks, contaminated soil or groundwater, chlordane,
        or other hazardous materials and contaminates.)
        Fencing
        Adjacent Land Use
        Cultural Resources (historical, archeological)
        AICUZ / Explosive Arcs / HERO
        Permits
**********************************************************************************************************

3.2 Site Development Requirements

********************************************************************************************************** 
NOTE:  The following outlines the types of information typically addressed.  Provide subheadings and information applicable to the project.

     3.2.1  Facility footprint

        Building Footprint
        Wharf, Pier, Drydock Footprint

     3.2.2  Vehicular Access and Circulation 

        Parking
        Service Access
        Pedestrian Access and Circulation (flow, paths, sidewalks, etc.)
        Recreational
        Outdoor Activity Areas
        Landscaping
        Utilities
        Signage
        Site Drainage & Storm Water Runoff (hydrology)
        Dewatering
        Site / Building Demolition 
        Site Clearing
        Fencing (perimeter security)   
        Construction Access / Lay down Area 
        Permits
        Sustainable Development
        Antiterrorism Force Protection (ATFP)
        Architectural Barriers Act (ABA) Requirements
        Master Planning 
        Environmental Assessment (Constraint in the EA not the entire EA)
**********************************************************************************************************

********************************************************************************************************** 
NOTE:  For waterfront projects add the following:

    3.2.3  Waterway Access

        Describe in this paragraph or show on drawing the waterway/channel that would
        provide access to the site including areas where contractor barges can be berthed
        or unload equipment and material.

    3.2.4  Environmental Constraints

        Describe environmental constraints permit general conditions and special conditions
        in addition to the Best Management Practices (BMP) during all construction work
        to prevent / minimize pollutant discharge into the harbor. These constraints
        may include the following:

        -  Use of silt curtains to enclose the work area to control turbidity during all in-water work.
        -  Not allowing debris entering the water.
        -  Prevent fresh concrete from entering the harbor during all concreting work.
        -  Protection of marine life and coral
        -  Protection of natural resources (Threatened and Endanger Species/Critical Habitat,
           migratory birds, essential fish habitat, marine mammals, Bald and Golden Eagle)
        -  Air Quality constrains
        -  Other constraints provided in the Environmental and permit documents

    3.2.5  Permitting and Agency Review
           List the permits required for the project including U.S Army Corps of Engineers
           permit(s) for in-water construction and dredging and U.S. Fish and Wildlife Services
           coordination.  Identify who is to provide the permits, Government or Contractor.
           If permit(s) are to be obtained by the Government:

        -  What and when the Contractor needs to submit to the Government to support permit
           application
        -  When the Government expect the permit(s) will be available
        -  Include permits and notifications required by Federal, State and local OSHA,
           or EPA offices for projects involving the removal or abatement of hazardous
           materials (e.g. asbestos removal and demolition, lead abatement and renovation).
**********************************************************************************************************