APPENDIX B

AIR LEAKAGE TEST RESULTS FORM

Testing Agency Certified Compliance

1  The envelope area was obtained from the architect of record and was checked on site for reasonableness.

__________________ (Initial)

2  Set up conditions were performed in accordance with the Pressure

Testing a Building for Air Tightness specification and all deviations and their impact noted.

__________________ (Initial)

3  Test equipment used was in compliance respect to accuracy and calibration date.

__________________ (Initial)

4  The test procedure used was in compliance except as noted here.

___________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

__________________ (Initial)

5  The calculations were performed in strict accordance with ASTM E 779 or the Pressure Testing a Air Barrier System for Air Tightness specification except as noted.

__________________ (Initial)

6  Provide the average leakage rate calculated in step 5.13 of the Air Leakage Test Form.

__________________ CFM/sq ft at 75 Pa

7  All accuracies, pressure limits and data correlations and confidence intervals are within the bounds specified in steps 4 and 5 of the Air Leakage Test Form.  Note all deviations. ___________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

8  The building envelope passes if there are no deviations in the criteria as stated in item 7 (immediately above) and if the value in step 5.13 of the Air Leakage Test Form is less than the required envelope leakage rate goal at 75 Pa.

Circle one:  Pass / Fail

9  Supporting documentation described in Steps 1, 3, and 6 of the Air Leakage Test Form is attached to this test form, including all digital photographs of the building and test procedure.

__________________ (Initial)

I hereby certify that the results above are in conformance with the procedures outlined in this specification.

Testing Agency Name __________________________________________________________________

Testing Agency Authorized Representative Signature _________________________________________

Testing Agency Authorized Representative Printed Name _____________________________________

Date _____________________________